# LI–RT-PCR: Gradient Thermal Cycler – touch screen

SALIENT FEATURES :

  - Advanced technologies, WINDOWS operating system.

  - Automatic restart after power failure.

  - Each thermal block has 4 independent temperature control sensors and 8 pettier heating units to ensure accurate and uniform temperature across block surface, and provide users with replicating previous condition set-up.

  - 8" TFT colour touch-screen with graphical display provides easy use for setting up and monitoring set parameter.

  - The actual and target temperatures can be viewed and displayed graphically in real time.

  - Built-in 11 standard program file template, can quickly edit the required files.

  - Internal flash memory for 10000 typical PCR files in free configurable folders.

  - Compatible with mouse, keyboard, capable to transfer data and perform software updates via USB Drive.

  - Applicable with the following 0.2m1 tube models: non-skirted, semi and fully skirted plated.

  - Replaceable module, dual-block module can simultaneously run two different PCR programs.

PRODUCT DETAILS :

Polymerase Chain Reaction (PCR) is widely used in Molecular biology. As PCR progresses, the DNA thus generated is used as template for replication. With PCR it is possible to amplify a single or few copies of a specific DNA fragment across several orders of magnitude, generating millions copies of the DNA fragments.

SPECIFICATIONS :

|  | Make | LABARD |
| --- | --- | --- |
|  | Model | LI-RT-PCR |
|  | Capacity | 96 X 0.2ml |
|  | Temperature Range | 0 - 100°C |
|  | Max. Heating Rate | 5°C/s |
|  | Max. Cooling Rate | 4°C/s |
|  | Uniformity & Accuracy | ±0.1°C |
|  | Display Resolution | 0.1 "C |
|  | Temperature Control | Block Tube |
|  | Ramping Rate Adjustable | 0.1 ~ 5°C |
|  | Gradient Uniformity | ±0.2°C |
|  | Gradient Accuracy | ±0.2°C |
|  | Gradient Temp. Range | 30 - 100°C |
|  | Gradient Spread | 1 ~ 30°C |
|  | Hot Lid Temperature | 30 ~ 110"C |
|  | Hot Lid Height Adjustable | Sleepless adjustable |
|  | Number of Programs | 10000 +(USB FLASH) |
|  | Max. No. of Step | 30 |
|  | Max. No. of Cycle | 99 |
|  | Time Increment/Decrement | Sec - 9 Min 59 Sec Yes |
|  | Temp. Increment / Decrement | 0.1 - 93°C Yes |
|  | Pause Function | YES |
|  | Auto Data Protection | YES |
|  | Hold at 4"C | Forever |
|  | Print, LAN to computer, | YES |
|  | LCD display | Touch Screen, 8inch , 800x600 Pixels, TFT |
|  | Communication | USB2.0 , LAN |
|  | Power Supply | 85 - 264VAC , 47 ~ 63Hz , 600 W |
|  | Dimension (L*W*H) | 380 X 240 x 260 mm |
|  | Weight | 9kg |